## DEFINE
Definitions
SITE ID: | 45-ccc-ssss | where 45 is the EPA state idenfication code, ccc is the county identification code and ssss is the site identification code within the county.
MONITOR TYPE: | NAMS | National Air Monitoring Site
| SLAMS | State and Local Air Monitoring Site
| INDUSTRIAL | Air monitoring site for monitoring an industry
| OTHER | A general codes that covers local complaints, special study monitoring, unclassified monitoring and the like
PROJECT CODE: | 01 | Population-oriented surveillance
| 02 | Source-oriented ambient surveillance
| 03 | Background surveillance
| 04 | Complaint investigation
| 05 | Special studies
| 09 | Duplicate sampling
MEASUREMENT SCALE: | MICROSCALE | Several meters to 100 meters
| MIDDLE SCALE | 100 meters to 0.5 Kilometers
| NEIGHBORHOOD | 0.5 Kilometers to 4.0 Kilometers
| UNBAN SCALE | 4.0 Kilometers to 50 Kilometers
| REGIONAL SCALE | 50 Kilometers to 100's of Kilometers
Summary Maximum values used & units: | Parameter | Averaging period | Units | Units Defined
| TSP | 24hr (Daily) | Ug/M3 | Micrograms per cubic meter
| CO | 8hr running | PPM | Parts per million
| SO2 | 24hr | PPM
| NO2 | 24hr | PPM
| OZONE | 1hr & 8hr running | PPM
| PM10 | 24hr (Daily) | Ug/M3
| PM2.5 | 24hr (Daily) | Ug/M3
Define: | Ave Exp E | Average Expected Exceedance
NOTE: Exceptional event data are included in this report.

## SITE INFO
South Carolina Active Monitoring Sites
[General site information]
Elevation
SITE NAME | SITE ID | COUNTY | CITY | Latitude | Longitude | Land Use | Location Setting | (meters) | Metropolitan Statistical Area Name | Urban Area Name
DUE WEST | 45-001-0001 | ABBEVILLE |  | 34.3256 | -82.3861 | AGRICULTURAL | RURAL | 204 | NOT IN AN MSA | NOT IN AN URBAN AREA
JACKSON MIDDLE SCHOOL | 45-003-0003 | AIKEN |  | 33.3422 | -81.7886 | RESIDENTIAL | SUBURBAN | 91 | AUGUSTA-AIKEN, GA-SC | NOT IN AN URBAN AREA
WAGENER DOT | 45-003-0004 | AIKEN |  | 33.6456 | -81.3425 | AGRICULTURAL | RURAL | 138 | AUGUSTA-AIKEN, GA-SC | NOT IN AN URBAN AREA
BEECH ISLAND FIRE STATION | 45-003-1001 | AIKEN |  | 33.4306 | -81.8922 | AGRICULTURAL | RURAL | 46 | AUGUSTA-AIKEN, GA-SC | NOT IN AN URBAN AREA
POWDERSVILLE | 45-007-0003 | ANDERSON |  | 34.775 | -82.4903 | AGRICULTURAL | SUBURBAN | 300 | GREENVILLE-SPARTANBURG-ANDERSON, SC | GREENVILLE
BARNWELL CMS | 45-011-0001 | BARNWELL |  | 33.3203 | -81.4653 | FOREST | RURAL | 91 | NOT IN AN MSA | NOT IN AN URBAN AREA
BEAUFORT KING STREET | 45-013-0007 | BEAUFORT | BEAUFORT | 32.4365 | -80.6779 | COMMERCIAL | URBAN AND CENTER CITY | 8 | NOT IN AN MSA | NOT IN AN URBAN AREA
BUSHY PARK PUMP | 45-015-0002 | BERKELEY |  | 32.9872 | -79.9367 | INDUSTRIAL | RURAL | 2 | CHARLESTON-NORTH CHARLESTON, SC | CHARLESTON
MONCKS CORNER | 45-015-0002 | BERKELEY | MONCKS CORNER | 33.1952 | -79.9768 | INDUSTRIAL | RURAL | 11 | CHARLESTON-NORTH CHARLESTON, SC | NOT IN AN URBAN AREA
JENKINS AVE. FIRE STATION | 45-019-0003 | CHARLESTON | NORTH CHARLESTON | 32.8822 | -79.9775 | COMMERCIAL | URBAN AND CENTER CITY | 7 | CHARLESTON-NORTH CHARLESTON, SC | CHARLESTON
ASHE STREET | 45-019-0005 | CHARLESTON | CHARLESTON | 32.7941 | -79.9469 | COMMERCIAL | URBAN AND CENTER CITY | 6 | CHARLESTON-NORTH CHARLESTON, SC | CHARLESTON
U S ARMY RESERVE | 45-019-0042 | CHARLESTON |  | 32.91 | -79.9653 | INDUSTRIAL | SUBURBAN | 4 | CHARLESTON-NORTH CHARLESTON, SC | CHARLESTON
CAPE ROMAIN WILDLIFE REFUGE | 45-019-0046 | CHARLESTON |  | 32.9408 | -79.6569 | FOREST | RURAL | 5 | CHARLESTON-NORTH CHARLESTON, SC | NOT IN AN URBAN AREA
U S NAVAL BASE | 45-019-0047 | CHARLESTON | NORTH CHARLESTON | 32.8428 | -79.9478 | INDUSTRIAL | URBAN AND CENTER CITY | 5 | CHARLESTON-NORTH CHARLESTON, SC | NOT IN AN URBAN AREA
CHARLESTON FAA BEACON | 45-019-0048 | CHARLESTON | CHARLESTON | 32.98 | -80.0653 | RESIDENTIAL | SUBURBAN | 12 | CHARLESTON-NORTH CHARLESTON, SC | CHARLESTON
CHARLESTON PUBLIC WORKS | 45-019-0049 | CHARLESTON | CHARLESTON | 32.7908 | -79.9586 | RESIDENTIAL | URBAN AND CENTER CITY | 2 | CHARLESTON-NORTH CHARLESTON, SC | CHARLESTON
COWPENS NATIONAL BATTLE GROUND | 45-021-0002 | CHEROKEE |  | 35.1303 | -81.8164 | FOREST | RURAL | 296 | GREENVILLE-SPARTANBURG-ANDERSON, SC | NOT IN AN URBAN AREA
CHESTER AIRPORT | 45-023-0002 | CHESTER |  | 34.7925 | -81.2036 | COMMERCIAL | RURAL | 201 | NOT IN AN MSA | NOT IN AN URBAN AREA
CHESTERFIELD | 45-025-0001 | CHESTERFIELD |  | 34.6153 | -80.1986 | FOREST | RURAL | 133 | NOT IN AN MSA | NOT IN AN URBAN AREA
ASHTON | 45-029-0002 | COLLETON |  | 33.0081 | -80.965 | AGRICULTURAL | RURAL | 11 | NOT IN AN MSA | NOT IN AN URBAN AREA
PEE DEE EXP. STATION | 45-031-0003 | DARLINGTON |  | 34.2856 | -79.7447 | AGRICULTURAL | RURAL | 64 | NOT IN AN MSA | NOT IN AN URBAN AREA
TRENTON | 45-037-0001 | EDGEFIELD |  | 33.74 | -81.8536 | AGRICULTURAL | RURAL | 177 | AUGUSTA-AIKEN, GA-SC | NOT IN AN URBAN AREA
FLORENCE COUNTY HEALTH DEPT | 45-041-0001 | FLORENCE | FLORENCE | 34.1961 | -79.7986 | COMMERCIAL | URBAN AND CENTER CITY | 40 | FLORENCE, SC | FLORENCE
H L SNEED MIDDLE SCHOOL | 45-041-0002 | FLORENCE | FLORENCE | 34.1672 | -79.8503 | RESIDENTIAL | RURAL | 13 | FLORENCE, SC | FLORENCE
HOWARD HIGH SCHOOL | 45-043-0002 | GEORGETOWN | GEORGETOWN | 33.3686 | -79.2975 | INDUSTRIAL | URBAN AND CENTER CITY | 10 | NOT IN AN MSA | NOT IN AN URBAN AREA
GEORGETOWN CMS | 45-043-0006 | GEORGETOWN | GEORGETOWN | 33.3619 | -79.2942 | INDUSTRIAL | URBAN AND CENTER CITY | 9 | NOT IN AN MSA | NOT IN AN URBAN AREA
MARYVILLE POWER SUB STATION | 45-043-0007 | GEORGETOWN | GEORGETOWN | 33.3478 | -79.2981 | RESIDENTIAL | SUBURBAN | 13 | NOT IN AN MSA | NOT IN AN URBAN AREA
WINYAH | 45-043-0009 | GEORGETOWN | GEORGETOWN | 33.3739 | -79.2856 | RESIDENTIAL | URBAN AND CENTER CITY | 3 | NOT IN AN MSA | NOT IN AN URBAN AREA
HOWARD HIGH SCHOOL #2 | 45-043-0010 | GEORGETOWN | GEORGETOWN | 33.3696 | -79.2984 | INDUSTRIAL | URBAN AND CENTER CITY | 10 | Not in a MSA | NOT IN AN URBAN AREA
GREENVILLE HEALTH DEPT | 45-045-0008 | GREENVILLE | GREENVILLE | 34.8386 | -82.4028 | COMMERCIAL | URBAN AND CENTER CITY | 290 | GREENVILLE-SPARTANBURG-ANDERSON, SC | GREENVILLE
TAYLORS | 45-045-0009 | GREENVILLE | TAYLORS | 34.8989 | -82.3131 | RESIDENTIAL | SUBURBAN | 0 | GREENVILLE-SPARTANBURG-ANDERSON, SC | NOT IN AN URBAN AREA
PARKER FIRE STATION | 45-045-1002 | GREENVILLE | GREENVILLE | 34.87 | -82.4192 | RESIDENTIAL | SUBURBAN | 305 | GREENVILLE-SPARTANBURG-ANDERSON, SC | GREENVILLE
1ST BAPTIST CHURCH ANNEX | 45-045-2002 | GREENVILLE | GREER | 34.9397 | -82.2294 | COMMERCIAL | URBAN AND CENTER CITY | 315 | GREENVILLE-SPARTANBURG-ANDERSON, SC | NOT IN AN URBAN AREA
GREENWOOD COUNTY DSS | 45-047-0001 | GREENWOOD | GREENWOOD | 34.1792 | -82.1522 | COMMERCIAL | SUBURBAN | 197 | NOT IN AN MSA | NOT IN AN URBAN AREA
PREMIER ROAD | 45-047-0002 | GREENWOOD |  | 34.165 | -82.1603 | INDUSTRIAL | SUBURBAN | 187 | NOT IN AN MSA | NOT IN AN URBAN AREA
MERRYWOOD SCHOOL | 45-047-0003 | GREENWOOD |  | 34.2131 | -82.1731 | INDUSTRIAL | SUBURBAN | 0 | NOT IN AN MSA | NOT IN AN URBAN AREA
HAMPTON I | 45-049-0001 | HAMPTON | HAMPTON | 32.8739 | -81.1153 | COMMERCIAL | URBAN AND CENTER CITY | 30 | NOT IN AN MSA | NOT IN AN URBAN AREA
MYRTLE BEACH EQC OFFICE | 45-051-0002 | HORRY | MYRTLE BEACH | 33.7028 | -78.8775 | COMMERCIAL | URBAN AND CENTER CITY | 2 | MYRTLE BEACH, SC | MYRTLE BEACH
LAURENS COUNTY OFFICE COMPLEX | 45-059-0001 | LAURENS | LAURENS | 34.5019 | -82.0208 | COMMERCIAL | SUBURBAN | 177 | NOT IN AN MSA | NOT IN AN URBAN AREA
SALTECH | 45-063-0005 | LEXINGTON |  | 33.7839 | -81.1197 | AGRICULTURAL | RURAL | 128 | COLUMBIA, SC | NOT IN AN URBAN AREA
SEVEN OAKS RECREATIONAL CTR. | 45-063-0008 | LEXINGTON | IRMO | 34.0508 | -81.1547 | COMMERCIAL | SUBURBAN | 69 | COLUMBIA, SC | NOT IN AN URBAN AREA
CAYCE CMS | 45-063-0009 | LEXINGTON | CAYCE | 33.9733 | -81.0525 | COMMERCIAL | URBAN AND CENTER CITY | 55 | COLUMBIA, SC | COLUMBIA
CAYCE FIRE STATION | 45-063-1002 | LEXINGTON | CAYCE | 33.9689 | -81.0653 | COMMERCIAL | URBAN AND CENTER CITY | 61 | COLUMBIA, SC | COLUMBIA
ROUND MT. FIRE TOWER (LONG CREEK) | 45-073-0001 | OCONEE |  | 34.805 | -83.2375 | FOREST | RURAL | 658 | NOT IN AN MSA | NOT IN AN URBAN AREA
ORANGEBURG | 45-075-0002 | ORANGEBURG | ORANGEBURG | 33.5299 | -80.8668 | RESIDENTIAL | SUBURBAN | 78 | NOT IN AN MSA | NOT IN AN URBAN AREA
BOYER | 45-075-0003 | ORANGEBURG |  | 33.2996 | -80.4422 | FOREST | RURAL | 1 | Not in a MSA | NOT IN AN URBAN AREA
CLEMSON CMS | 45-077-0002 | PICKENS | CLEMSON | 34.6861 | -82.8387 | AGRICULTURAL | RURAL | 216 | GREENVILLE-SPARTANBURG-ANDERSON, SC | NOT IN AN URBAN AREA
SC DEPT. PROBATION, PAROLE | 45-079-0006 | RICHLAND | COLUMBIA | 34.0053 | -81.0231 | COMMERCIAL | SUBURBAN | 76 | COLUMBIA, SC | COLUMBIA
PARKLANE | 45-079-0007 | RICHLAND | COLUMBIA | 34.0939 | -80.9622 | RESIDENTIAL | SUBURBAN | 122 | COLUMBIA, SC | COLUMBIA
ENRIGHT (REX) ATHLETIC CENTER | 45-079-0014 | RICHLAND | COLUMBIA | 33.9831 | -81.0194 | COMMERCIAL | SUBURBAN | 67 | COLUMBIA, SC | COLUMBIA
OLYMPIA | 45-079-0018 | RICHLAND | COLUMBIA | 33.9819 | -81.04 | COMMERCIAL | URBAN AND CENTER CITY | 53 | COLUMBIA, SC | COLUMBIA
BATES HOUSE (USC) | 45-079-0019 | RICHLAND | COLUMBIA | 33.9915 | -81.0241 | RESIDENTIAL | URBAN AND CENTER CITY | 76 | COLUMBIA, SC | COLUMBIA
STATE HOSPITAL | 45-079-0020 | RICHLAND | COLUMBIA | 34.0153 | -81.0342 | COMMERCIAL | URBAN AND CENTER CITY | 0 | COLUMBIA, SC | COLUMBIA
CONGAREE BLUFF | 45-079-0021 | RICHLAND |  | 33.8165 | -80.7811 | FOREST | RURAL | 34 | COLUMBIA, SC | NOT IN AN URBAN AREA
SANDHILL EXPERIMENTAL STATION | 45-079-1001 | RICHLAND |  | 34.1313 | -80.8683 | AGRICULTURAL | RURAL | 139 | COLUMBIA, SC | COLUMBIA
SCDHEC PARKING LOT | 45-079-1003 | RICHLAND | COLUMBIA | 34.0244 | -81.0361 | COMMERCIAL | SUBURBAN | 82 | COLUMBIA, SC | COLUMBIA
SPARTANBURG CITY HALL | 45-083-0001 | SPARTANBURG | SPARTANBURG | 34.9475 | -81.9325 | COMMERCIAL | URBAN AND CENTER CITY | 238 | GREENVILLE-SPARTANBURG-ANDERSON, SC | SPARTANBURG
NORTH SPARTANBURG FIRE STATION | 45-083-0009 | SPARTANBURG |  | 34.9886 | -82.0756 | RESIDENTIAL | RURAL | 265 | GREENVILLE-SPARTANBURG-ANDERSON, SC | SPARTANBURG
WEST VIEW ELEMETARY SCHOOL | 45-083-0010 | SPARTANBURG |  | 34.9267 | -82.005 | RESIDENTIAL | SUBURBAN | 260 | GREENVILLE-SPARTANBURG-ANDERSON, SC | NOT IN AN URBAN AREA
SUMTER COUNTY HEALTH DEPARTMENT | 45-085-0001 | SUMTER | SUMTER | 33.9222 | -80.3375 | COMMERCIAL | URBAN AND CENTER CITY | 49 | SUMTER, SC | NOT IN AN URBAN AREA
DELTA | 45-087-0001 | UNION |  | 34.5389 | -81.5603 | FOREST | RURAL | 113 | NOT IN AN MSA | NOT IN AN URBAN AREA
INDIANTOWN | 45-089-0001 | WILLIAMSBURG |  | 33.7236 | -79.565 | AGRICULTURAL | RURAL | 18 | NOT IN AN MSA | NOT IN AN URBAN AREA
ROCK HILL WATER FILTER PLANT | 45-091-0005 | YORK | ROCK HILL | 34.9625 | -81.0008 | COMMERCIAL | SUBURBAN | 189 | CHARLOTTE-GASTONIA-ROCK HILL, NC-SC | ROCK HILL
YORK CMS | 45-091-0006 | YORK |  | 34.9356 | -81.2283 | AGRICULTURAL | SUBURBAN | 222 | CHARLOTTE-GASTONIA-ROCK HILL, NC-SC | NOT IN AN URBAN AREA

## DATES
South Carolina Active Monitors at a Site
[Site and monitor established/ended dates information]
| Date Site |  |  | Date Sampling
Site Name | Eastablished | Terminated | Parameter Name | Begin | Ended
DUE WEST | 1991-04-02 |  | Ozone | 1991-04-03
JACKSON MIDDLE SCHOOL | 1985-10-24 |  | Nitrogen Dioxide | 1986-01-15
|  |  | Ozone | 1985-11-08
|  |  | Particulate Matter (PM10) | 1987-04-03
WAGENER DOT | 2000-07-17 | 2002-11-02 | Ozone | 2000-08-09 | 2002-11-02
BEECH ISLAND FIRE STATION | 1972-03-29 |  | Total Suspended Particulate | 1972-04-09
|  |  | Lead | 1983-01-12
POWDERSVILLE | 1991-06-01 |  | Ozone | 1991-06-01
|  |  | Particulate Matter (PM2.5) | 2000-07-19
BARNWELL CMS | 1985-11-11 |  | Sulfur Dioxide | 1985-12-02
|  |  | Nitrogen Dioxide | 1985-12-02
|  |  | Ozone | 1985-11-18
|  |  | Particulate Matter (PM10) | 1987-04-03
BEAUFORT KING STREET | 1999-02-01 |  | Total Suspended Particulate | 1999-09-20
|  |  | Lead | 1999-09-20
|  |  | Particulate Matter (PM2.5) | 1999-03-25
BUSHY PARK PUMP STATION | 1978-06-20 |  | Ozone | 1978-06-26
MONCKS CORNER | 2002-07-19 |  | Particulate Matter (PM2.5) | 2002-07-19
JENKINS AVE. FIRE STATION | 1969-02-14 |  | Total Suspended Particulate | 1969-02-20
|  |  | Lead | 1977-02-06
|  |  | Sulfur Dioxide | 1974-11-08
|  |  | Nitrogen Dioxide | 1990-06-14
|  |  | Particulate Matter (PM10) | 1992-06-01
ASHE STREET | 1981-11-06 |  | Carbon Monoxide | 1981-11-12
U S ARMY RESERVE | 1977-01-08 |  | Ozone | 1979-03-07
CAPE ROMAIN WILDLIFE REFUGE | 1983-07-11 |  | Total Suspended Particulate | 1983-07-17
|  |  | Lead | 1993-01-01
|  |  | Sulfur Dioxide | 1983-08-31
|  |  | Nitrogen Dioxide | 1990-08-29
|  |  | Ozone | 1987-03-05
|  |  | Particulate Matter (PM10) | 1988-02-27
U S NAVAL BASE | 1987-10-27 |  | Total Suspended Particulate | 1987-10-30
|  |  | Lead | 1987-10-30
|  |  | Particulate Matter (PM10) | 1987-11-29
CHARLESTON FAA BEACON | 1999-04-09 |  | Particulate Matter (PM2.5) | 1999-04-15
CHARLESTON PUBLIC WORKS | 1998-11-20 |  | Particulate Matter (PM2.5) | 1998-11-26
COWPENS NATIONAL BATTLE GROUND | 1988-03-25 |  | Ozone | 1988-04-21

## DATES-2
South Carolina Active Monitors at a Site
[Site and monitor established/ended dates information]
| Date Site |  |  | Date Sampling
Site Name | Eastablished | Terminated | Parameter Name | Begin | Ended
CHESTER AIRPORT | 1980-02-23 |  | Ozone | 1980-03-01
CHESTERFIELD | 2000-01-06 |  | Ozone | 2002-03-07
|  |  | Particulate Matter (PM2.5) | 2000-01-07
ASHTON | 1990-03-07 |  | Ozone | 1990-03-08
|  |  | Particulate Matter (PM2.5) | 1999-06-24
PEE DEE EXP. STATION | 1993-02-25 |  | Ozone | 1993-03-24
TRENTON | 1980-03-28 |  | Ozone | 1980-04-03
|  |  | Particulate Matter (PM2.5) | 1999-04-30
FLORENCE COUNTY HEALTH DEPT. | 1969-01-01 |  | Total Suspended Particulate | 1969-02-04
|  |  | Lead | 1977-06-06
H L SNEED MIDDLE SCHOOL | 1999-01-15 |  | Particulate Matter (PM2.5) | 1999-02-23
HOWARD HIGH SCHOOL | 1970-04-01 | 2003-01-01 | Suspended Particulate (TSP) | 1970-04-03 | 2002-12-28
|  |  | Lead (TSP) | 1975-01-06 | 2002-12-28
|  |  | Particulate Matter (PM10) | 1990-01-04 | 2002-12-28
GEORGETOWN CMS | 1972-10-25 |  | Total Suspended Particulate | 1972-10-31
|  |  | Lead | 1975-01-03
|  |  | Sulfur Dioxide | 1972-11-01
|  |  | Particulate Matter (PM10) | 2002-11-13
MARYVILLE POWER SUB STATION | 1977-01-31 |  | Total Suspended Particulate | 1977-02-06
|  |  | Lead | 1993-01-01
WINYAH | 1995-06-16 |  | Total Suspended Particulate | 1995-06-20
|  |  | Lead | 1995-06-20
|  |  | Particulate Matter (PM10) | 1995-09-12
|  |  | Particulate Matter (PM2.5) | 1999-01-15
HOWARD HIGH SCHOOL #2 | 2002-03-18 |  | Total Suspended Particulate | 2002-03-21
|  |  | Lead | 2002-03-27
|  |  | Particulate Matter (PM10) | 2002-03-27
GREENVILLE HEALTH DEPT | 1989-04-06 |  | Total Suspended Particulate | 1989-04-16
|  |  | Lead | 1989-04-16
|  |  | Carbon Monoxide | 1993-02-03
|  |  | Sulfur Dioxide | 1989-04-07
|  |  | Nitrogen Dioxide | 1990-09-10
|  |  | Particulate Matter (PM2.5) | 2001-08-09
TAYLORS | 1999-05-01 |  | Particulate Matter (PM2.5) | 1999-05-30
PARKER FIRE STATION | 1969-10-24 |  | Particulate Matter (PM10) | 1987-04-03
1ST BAPTIST CHURCH ANNEX | 1977-03-08 |  | Total Suspended Particulate | 1977-03-14
|  |  | Lead | 1977-03-14

## DATES-3
South Carolina Active Monitors at a Site
[Site and monitor established/ended dates information]
| Date Site |  |  | Date Sampling
Site Name | Eastablished | Terminated | Parameter Name | Begin | Ended
GREENWOOD COUNTY DSS | 1966-10-20 |  | Total Suspended Particulate | 1966-10-26
|  |  | Lead | 1993-01-01
PREMIER ROAD | 1999-01-27 |  | Total Suspended Particulate | 1999-01-30
|  |  | Lead | 1999-01-30
MERRYWOOD SCHOOL | 1998-12-01 |  | Particulate Matter (PM2.5) | 1998-12-04
HAMPTON I | 1989-02-28 | 2003-01-01 | Suspended Particulate (TSP) | 1989-03-05 | 2002-12-29
|  |  | Lead (TSP) | 1989-03-05 | 2002-12-29
MYRTLE BEACH EQC OFFICE | 1990-12-31 |  | Total Suspended Particulate | 1991-01-06
|  |  | Lead | 1991-01-06
|  |  | Particulate Matter (PM2.5) | 2000-11-01
LAURENS COUNTY OFFICE COMPLEX | 1972-03-04 | 2003-01-01 | Suspended Particulate (TSP) | 1972-03-10 | 2002-12-29
|  |  | Lead (TSP) | 1994-01-02 | 2002-12-29
SALTECH | 1985-02-18 |  | Total Suspended Particulate | 1985-02-24
|  |  | Lead | 1985-02-24
|  |  | Particulate Matter (PM10) | 1999-06-14
SEVEN OAKS RECREATIONAL CTR. | 1989-04-07 |  | Sulfur Dioxide | 1989-05-22
|  |  | Particulate Matter (PM2.5) | 1998-12-01
CAYCE CMS | 1991-10-26 |  | Particulate Matter (PM10) | 1991-11-01
CAYCE FIRE STATION | 1984-06-01 |  | Total Suspended Particulate | 1984-06-11
|  |  | Lead | 1988-01-22
ROUND MT. FIRE TOWER (LONG CREEK) | 1983-08-01 |  | Sulfur Dioxide | 1991-07-01
|  |  | Ozone | 1989-05-04
|  |  | Particulate Matter (PM2.5) | 1998-12-31
ORANGEBURG | 2001-12-21 |  | Particulate Matter (PM2.5) | 2002-01-08
BOYER | 2002-09-18 |  | Total Suspended Particulate | 2002-10-17
|  |  | Sulfur Dioxide | 2002-09-18
|  |  | Nitrogen Dioxide | 2002-09-18
CLEMSON CMS | 1979-07-14 |  | Ozone | 1979-07-20
|  |  | Particulate Matter (PM2.5) | 2002-03-05
SC DEPT. PROBATION, PAROLE | 1967-01-12 |  | Total Suspended Particulate | 1967-01-18
|  |  | Lead | 1974-01-05

## DATES-4
South Carolina Active Monitors at a Site
[Site and monitor established/ended dates information]
| Date Site |  |  | Date Sampling
Site Name | Eastablished | Terminated | Parameter Name | Begin | Ended
PARKLANE | 1980-04-03 |  | Total Suspended Particulate | 1987-02-27
|  |  | Lead | 1987-02-27
|  |  | Sulfur Dioxide | 1988-07-29
|  |  | Nitrogen Dioxide | 1990-03-01
|  |  | Ozone | 1987-01-06
|  |  | Particulate Matter (PM10) | 1987-07-14
|  |  | Particulate Matter (PM2.5) | 1998-11-01
ENRIGHT (REX) ATHLETIC CENTER | 1980-08-01 | 2002-10-01 | Suspended Particulate (TSP) | 1980-08-07 | 2002-09-29
|  |  | Lead (TSP) | 1986-02-25 | 2002-09-29
OLYMPIA | 1991-10-30 |  | Particulate Matter (PM10) | 1991-11-04
|  |  | Particulate Matter (PM2.5) | 1999-08-17
BATES HOUSE (USC) | 1998-11-24 |  | Total Suspended Particulate | 2001-09-16
|  |  | Lead | 2001-09-16
|  |  | Particulate Matter (PM10) | 1999-01-06
|  |  | Particulate Matter (PM2.5) | 1998-11-26
STATE HOSPITAL | 1999-01-07 |  | Carbon Monoxide | 1999-01-08
CONGAREE BLUFF | 1999-12-27 |  | Total Suspended Particulate | 1999-12-31
|  |  | Lead | 1999-12-31
|  |  | Sulfur Dioxide | 2000-01-17
|  |  | Nitrogen Dioxide | 2000-01-17
|  |  | Ozone | 2000-01-19
SANDHILL EXPERIMENTAL STATION | 1959-01-01 |  | Ozone | 1979-05-02
SCDHEC PARKING LOT | 1969-08-26 |  | Sulfur Dioxide | 1972-12-21
|  |  | Particulate Matter (PM10) | 1987-04-03
SPARTANBURG CITY HALL | 1964-12-29 |  | Total Suspended Particulate | 1966-01-04
|  |  | Lead | 1993-01-01
|  |  | Particulate Matter (PM10) | 1992-12-26
NORTH SPARTANBURG FIRE STATION | 1990-04-04 |  | Ozone | 1990-04-10
WEST VIEW ELEMETARY SCHOOL | 1998-11-10 |  | Particulate Matter (PM2.5) | 1998-11-13
SUMTER COUNTY HEALTH DEPARTMENT | 1969-01-01 |  | Total Suspended Particulate | 2002-01-02
|  |  | Lead | 2002-01-02
DELTA | 1983-08-20 |  | Ozone | 1983-08-26
INDIANTOWN | 1991-04-23 |  | Ozone | 1991-04-26
ROCK HILL WATER FILTER PLANT | 1974-12-12 |  | Total Suspended Particulate | 1974-12-18
|  |  | Lead | 1977-06-24
|  |  | Particulate Matter (PM10) | 1990-05-05
YORK CMS | 1993-03-30 |  | Ozone | 1993-03-31
Total number of active sites/monitors for 2002: | 64 |  |  | 142

## TSP
Total Suspended Particulate(TSP) - Ug/M3
[Parameter Code = 11101]
[Air quality standard = 75 Ug/M3 Annual Geom. Mean]
| GEOM. | MAXIMUM 24-HR VALUES |  |  |  | ANNUAL |  | Monitor | Project | Dominant | Measurement | Monitor
SITE NAME | MEAN. | 1ST | 2ND | 3RD | 4TH | OBSV | Complete | Type | Code | Source | Scale | Objective
BEECH ISLAND FIRE STATION | 33.8 | 95 | 95 | 82 | 71 | 56 | 91.8% | OTHER | 01 | AREA | MIDDLE SCALE | POPULATION EXPOSURE
BEAUFORT KING STREET | 22.7 | 51 | 51 | 48 | 48 | 59 | 96.72% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
JENKINS AV. FIRE STATION | 32.1 | 66 | 65 | 61 | 61 | 59 | 96.72% | OTHER | 02 | AREA | NEIGHBORHOOD | HIGHEST CONCENTRATION
CAPE ROMAIN WILDLIFE REFUGE | 20.6 | 61 | 53 | 50 | 47 | 57 | 93.44% | OTHER | 02 | AREA | REGIONAL SCALE | GENERAL/BACKGROUND
U S NAVAL BASE | 27.9 | 68 | 61 | 51 | 50 | 58 | 95.08% | OTHER | 02 | POINT | NEIGHBORHOOD | SOURCE ORIENTED
FLORENCE COUNTY HEALTH DEPT | 32.5 | 69 | 68 | 65 | 65 | 55 | 90.16% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
HOWARD HIGH SCHOOL | 41.8 | 117 | 101 | 93 | 82 | 60 | 98.36% | OTHER | 02 | POINT | MIDDLE SCALE | HIGHEST CONCENTRATION
GEORGETOWN CMS | 63.4 | 175 | 155 | 153 | 147 | 60 | 98.36% | OTHER | 02 | POINT | MIDDLE SCALE | HIGHEST CONCENTRATION
MARYVILLE POWER SUB STATION | 22.4 | 63 | 46 | 41 | 40 | 58 | 95.08% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
WINYAH | 38.3 | 105 | 105 | 99 | 90 | 60 | 98.36% | OTHER | 01 | POINT | NEIGHBORHOOD | HIGHEST CONCENTRATION
HOWARD HIGH SCHOOL #2 | 42.6 | 123 | 91 | 89 | 85 | 42 | 68.85% | OTHER | 02 | POINT | MIDDLE SCALE | OTHER
GREENVILLE HEALTH DEPT | 31.2 | 87 | 77 | 73 | 64 | 58 | 95.08% | OTHER | 01 | AREA | NEIGHBORHOOD | WELFARE RELATED IMPACTS
1ST BAPTIST CHURCH ANNEX | 28.6 | 75 | 71 | 70 | 66 | 60 | 98.36% | OTHER | 01 | AREA | NEIGHBORHOOD | OTHER
GREENWOOD COUNTY DSS | 25.9 | 66 | 58 | 57 | 54 | 54 | 88.52% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
PREMIER ROAD | 22.8 | 60 | 55 | 48 | 46 | 49 | 80.33% | OTHER | 02 | POINT | NEIGHBORHOOD | SOURCE ORIENTED
HAMPTON I | 29.5 | 80 | 68 | 60 | 59 | 52 | 85.25% | OTHER | 04 | AREA | URBAN SCALE | SOURCE ORIENTED
MYRTLE BEACH EQC OFFICE | 30.5 | 72 | 70 | 65 | 58 | 58 | 95.08% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
LAURENS COUNTY OFFICE COMPLEX | 22.1 | 51 | 50 | 48 | 47 | 57 | 93.44% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
SALTECH | 23.5 | 57 | 54 | 47 | 47 | 59 | 96.72% | INDUSTRIAL | 04 | POINT | URBAN SCALE | SOURCE ORIENTED
CAYCE FIRE STATION | 34.5 | 78 | 67 | 66 | 66 | 59 | 96.72% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
BOYER | 15.7 | 25 | 21 | 21 | 19 | 13 | 100% | OTHER | 04 | AREA | NEIGHBORHOOD | SOURCE ORIENTED
WELFARE RELATED IMPACTS
SC DEPT. PROBATION, PAROLE | 33.3 | 77 | 70 | 68 | 67 | 61 | 100% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
PARKLANE | 26.6 | 61 | 52 | 52 | 51 | 58 | 95.08% | OTHER | 03 | AREA | NEIGHBORHOOD | GENERAL/BACKGROUND
ENRIGHT (REX) ATHLETIC CENTER | 41.3 | 82 | 80 | 78 | 77 | 46 | 100% | OTHER | 02 | POINT | NEIGHBORHOOD | HIGHEST CONCENTRATION
BATES HOUSE (USC) | 33.3 | 76 | 71 | 71 | 66 | 61 | 100% | OTHER | 02 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
CONGAREE BLUFF | 20.2 | 46 | 43 | 42 | 41 | 61 | 100% | OTHER | 03 | MOBILE | MIDDLE SCALE | GENERAL/BACKGROUND
SPARTANBURG CITY HALL | 30.9 | 70 | 70 | 69 | 66 | 58 | 95.08% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
SUMTER COUNTY HEALTH DEPARTMENT | 29.3 | 64 | 63 | 61 | 57 | 60 | 98.36% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
ROCK HILL WATER FILTER PLANT | 40.7 | 74 | 72 | 70 | 66 | 54 | 88.52% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
State Wide Average => | 30.9655 |  |  |  |  | 55.2414 | 93.9%
State Wide Maximums => |  | 175 | 155 | 153 | 147
Method Code | Sample Collection Method |  |  |  |  | Sample Analysis |  |  |  | Recording Mode
091 | HI-VOL |  |  |  |  | GRAVIMETRIC |  |  |  | INTERMITTENT
Number of monitors active during the year | 29

## Pb
Lead (PB) - Ug/M3
[Parameter Code = 12128]
[Air quality standard = 1.5 Ug/M3 Quartly Mean]
| 1ST QUARTER |  | 2ND QUARTER |  | 3RD QUARTER |  | 4TH QUARTER |  | ANNUAL |  | Monitor | Project | Dominant | Measurement | Monitor
SITE NAME | OBSV. | MEAN | OBSV. | MEAN | OBSV. | MEAN | OBSV. | MEAN | OBSV. | COMPLETE | Type | Code | Source | Scale | Objective
BEECH ISLAND FIRE STATION | 14 | 0.001 | 15 | 0.001 | 14 | 0.001 | 13 | 0.0023846 | 56 | 91.8% | OTHER | 01 | AREA | MIDDLE SCALE | OTHER
BEAUFORT KING STREET | 14 | 0.0036429 | 15 | 0.001 | 16 | 0.001 | 14 | 0.0042857 | 59 | 96.72% | OTHER | 01 | AREA | NEIGHBORHOOD | OTHER
JENKINS AV. FIRE STATION | 15 | 0.0041333 | 14 | 0.0022857 | 16 | 0.0045 | 14 | 0.0022857 | 59 | 96.72% | SLAMS | 02 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
CAPE ROMAIN WILDLIFE REFUGE | 15 | 0.001 | 14 | 0.001 | 16 | 0.0021875 | 12 | 0.00175 | 57 | 93.44% | OTHER | 01 | AREA | REGIONAL SCALE | OTHER
U S NAVAL BASE | 14 | 0.0035714 | 14 | 0.0029286 | 16 | 0.00325 | 14 | 0.0055714 | 58 | 95.08% | OTHER | 02 | POINT | NEIGHBORHOOD | GENERAL/BACKGROUND
FLORENCE COUNTY HEALTH DEPT. | 13 | 0.0016923 | 15 | 0.0022667 | 16 | 0.002125 | 11 | 0.0018182 | 55 | 90.16% | OTHER | 01 | AREA | NEIGHBORHOOD | OTHER
HOWARD HIGH SCHOOL | 15 | 0.0028 | 15 | 0.0059333 | 16 | 0.011375 | 14 | 0.0049286 | 60 | 98.36% | OTHER | 02 | POINT | MIDDLE SCALE | OTHER
GEORGETOWN CMS | 15 | 0.0040667 | 14 | 0.0049286 | 16 | 0.0044375 | 15 | 0.0059333 | 60 | 98.36% | OTHER | 02 | POINT | MIDDLE SCALE | OTHER
MARYVILLE POWER SUB STATION | 14 | 0.001 | 15 | 0.001 | 14 | 0.0063571 | 15 | 0.0028667 | 58 | 95.08% | OTHER | 01 | AREA | NEIGHBORHOOD | OTHER
WINYAH | 15 | 0.0060667 | 15 | 0.0106 | 16 | 0.0050625 | 14 | 0.0063571 | 60 | 98.36% | SLAMS | 01 | POINT | NEIGHBORHOOD | OTHER
HOWARD HIGH SCHOOL #2 | 1 | 0.001 | 14 | 0.0048571 | 14 | 0.0057143 | 13 | 0.0045385 | 42 | 89.36% | OTHER | 02 | POINT | MIDDLE SCALE | OTHER
GREENVILLE HEALTH DEPT. | 15 | 0.01 | 14 | 0.0029286 | 15 | 0.0016 | 14 | 0.003 | 58 | 95.08% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
1ST BAPTIST CHURCH ANNEX | 15 | 0.0034667 | 15 | 0.001 | 15 | 0.001 | 15 | 0.001 | 60 | 98.36% | SLAMS | 01 | AREA | NEIGHBORHOOD | SOURCE ORIENTED
GREENWOOD COUNTY DEPT. | 12 | 0.0055833 | 13 | 0.0069231 | 16 | 0.002125 | 13 | 0.0016923 | 54 | 88.52% | OTHER | 01 | AREA | NEIGHBORHOOD | OTHER
PREMIER ROAD | 14 | 0.0056429 | 13 | 0.015538 | 8 | 0.002125 | 14 | 0.0085 | 49 | 80.33% | OTHER | 02 | POINT | NEIGHBORHOOD | SOURCE ORIENTED
HAMPTON I | 10 | 0.001 | 12 | 0.00175 | 16 | 0.001 | 14 | 0.001 | 52 | 85.25% | OTHER | 04 | AREA | URBAN SCALE | SOURCE ORIENTED
MYRTLE BEACH EQC OFFICE | 13 | 0.0023846 | 15 | 0.001 | 16 | 0.0015625 | 14 | 0.0016429 | 58 | 95.08% | OTHER | 01 | AREA | NEIGHBORHOOD | OTHER
LAURENS COUNTY OFFICE COMPLEX | 13 | 0.0016923 | 14 | 0.0059286 | 15 | 0.001 | 15 | 0.001 | 57 | 93.44% | OTHER | 01 | AREA | NEIGHBORHOOD | OTHER
SALTECH | 15 | 0.0022 | 15 | 0.0022667 | 14 | 0.0016429 | 15 | 0.0016 | 59 | 96.72% | OTHER | 04 | POINT | URBAN SCALE | SOURCE ORIENTED
CAYCE FIRE STATION | 14 | 0.0042857 | 15 | 0.0046 | 16 | 0.0050625 | 14 | 0.0022857 | 59 | 96.72% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
SC DEPT. PROBATION, PAROLE | 15 | 0.0028 | 15 | 0.001 | 16 | 0.00325 | 15 | 0.0034 | 61 | 100% | SLAMS | 01 | AREA | NEIGHBORHOOD | WELFARE RELATED IMPACTS
PARKLANE | 15 | 0.0016 | 14 | 0.0016429 | 16 | 0.002125 | 13 | 0.0016923 | 58 | 95.08% | OTHER | 03 | AREA | NEIGHBORHOOD | GENERAL/BACKGROUND
ENRIGHT (REX) ATHLETIC CENTER | 15 | 0.0046667 | 15 | 0.0052667 | 16 | 0.00275 |  |  | 46 | 100% | OTHER | 02 | POINT | NEIGHBORHOOD | POPULATION EXPOSURE
BATES HOUSE (USC) | 15 | 0.004 | 15 | 0.0028 | 16 | 0.00325 | 15 | 0.0016 | 61 | 100% | OTHER | 02 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
CONGAREE BLUFF | 15 | 0.001 | 15 | 0.001 | 16 | 0.001 | 15 | 0.001 | 61 | 100% | OTHER | 03 | MOBILE | MIDDLE SCALE | GENERAL/BACKGROUND
SPARTANBURG CITY HALL | 13 | 0.0030769 | 15 | 0.0034 | 16 | 0.001 | 14 | 0.0042143 | 58 | 95.08% | OTHER | 01 | AREA | NEIGHBORHOOD | OTHER
SUMTER COUNTY HEALTH DEPARTMENT | 15 | 0.0060667 | 15 | 0.0040667 | 15 | 0.0016 | 15 | 0.0028667 | 60 | 98.36% | OTHER | 01 | AREA | NEIGHBORHOOD | OTHER
ROCK HILL WATER FILTER PLANT | 12 | 0.0048333 | 14 | 0.0029286 | 16 | 0.0026875 | 12 | 0.00625 | 54 | 88.52% | OTHER | 01 | AREA | NEIGHBORHOOD | OTHER
State Wide Average => | 13.6071 | 0.0033669 | 14.4286 | 0.0036371 | 15.2857 | 0.002921 | 13.9259 | 0.0031653 | 56.75 | 94.64%
Method Code | Sample Collection Method |  |  |  |  | Sample Analysis |  |  |  | Recording Mode
092 | HI-VOL |  |  |  |  | ATOMIC ABSORPTION |  |  |  | INTERMITTENT
Number of monitors active during the year | 28

## CO
Carbon Monoxide (CO) - PPM
[Parameter Code = 42101]
[Air quality standard = 35 PPM 1hr Max, 9 PPM 8hr Max]
| MAX 1-HR |  |  | MAX 8-HR |  |  | ANNUAL |  | Monitor | Project | Dominant | Measurement | Monitor
SITE NAME | 1ST | 2ND | OBS> 35 | 1ST | 2ND | OBS> 9 | OBSV. | Complete | Type | Code | Source | Scale | Objective
ASHE STREET | 4.8 | 3.5 | 0 | 2.9 | 2.8 | 0 | 8486 | 96.87% | SLAMS | 01 | AREA | MICROSCALE | HIGHEST CONCENTRATION
GREENVILLE HEALTH DEPT | 4.5 | 4.2 | 0 | 3.5 | 3.3 | 0 | 8498 | 97.01% | OTHER | 01 | AREA | MIDDLE SCALE | WELFARE RELATED IMPACTS
STATE HOSPITAL | 3.5 | 3.4 | 0 | 3.2 | 2.8 | 0 | 8583 | 97.98% | SLAMS | 01 | MOBILE | MICROSCALE | HIGHEST CONCENTRATION
State Wide Average => |  |  | 0 |  |  | 0 | 8522.3333 | 97.29%
State Wide Maximums => | 4.8 | 4.5 |  | 3.5 | 3.3
Method Code | Sample Collection Method |  |  |  |  | Sample Analysis |  |  |  | Recording Mode
054 | INSTRUMENTAL |  |  |  |  | NONDISPERSIVE INFRARED |  |  |  | CONTINUOUS
Number of monitors active during the year |  |  | 3

## SO2
Sulfur Dioxide (SO2) - PPM
[Parameter Code = 42401]
[Air quality standard = .03 PPM Annual, .139 PPM 24hr, .494 PPM 3hr]
| ANNUAL | MAX 24HR |  |  | MAX 3HR |  |  | MAX 1HR |  | ANNUAL |  | Monitor | Project | Dominant | Measurement | Monitor
SITE NAME | MEAN | 1ST | 2ND | OBS> 0.14 | 1ST | 2ND | OBS> 0.50 | 1ST | 2ND | OBSV | Complete | Type | Code | Source | Scale | Objective
BARNWELL CMS | 0.0016 | 0.006 | 0.006 | 0 | 0.021 | 0.019 | 0 | 0.034 | 0.027 | 8666 | 98.93% | INDUSTRIAL | 02 | AREA | URBAN SCALE | SOURCE ORIENTED
JENKINS AV. FIRE STATION | 0.0026 | 0.01 | 0.01 | 0 | 0.037 | 0.035 | 0 | 0.063 | 0.051 | 8149 | 93.03% | NAMS | 02 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
CAPE ROMAIN WILDLIFE REFUGE | 0.0019 | 0.01 | 0.008 | 0 | 0.035 | 0.033 | 0 | 0.064 | 0.048 | 8600 | 98.17% | SLAMS | 02 | AREA | REGIONAL SCALE | SOURCE ORIENTED
GEORGETOWN CMS | 0.0016 | 0.037 | 0.01 | 0 | 0.082 | 0.077 | 0 | 0.105 | 0.103 | 8418 | 96.1% | SLAMS | 02 | POINT | NEIGHBORHOOD | SOURCE ORIENTED
GREENVILLE HEALTH DEPT. | 0.0031 | 0.015 | 0.014 | 0 | 0.034 | 0.026 | 0 | 0.059 | 0.038 | 8680 | 99.09% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
SEVEN OAKS RECREATIONAL CTR. | 0.0033 | 0.019 | 0.018 | 0 | 0.08 | 0.078 | 0 | 0.12 | 0.12 | 8664 | 98.9% | OTHER | 04 | AREA | NEIGHBORHOOD | SOURCE ORIENTED
ROUND MT. FIRE TOWER (LONG CREEK) | 0.0017 | 0.007 | 0.007 | 0 | 0.016 | 0.015 | 0 | 0.021 | 0.019 | 8312 | 94.89% | OTHER | 05 | AREA | REGIONAL SCALE | REGIONAL TRANSPORT
BOYER | 0.0017 | 0.005 | 0.004 |  | 0.01 | 0.01 |  | 0.021 | 0.018 | 2190 | 86.9% | OTHER | 04 | POINT | NEIGHBORHOOD | SOURCE ORIENTED
WELFARE RELATED IMPACTS
PARKLANE - STATE PARK HEALTH CTR. | 0.0025 | 0.01 | 0.01 | 0 | 0.02 | 0.019 | 0 | 0.031 | 0.03 | 8378 | 95.64% | OTHER | 05 | AREA | NEIGHBORHOOD | OTHER
CONGAREE BLUFF | 0.0019 | 0.009 | 0.008 | 0 | 0.038 | 0.032 | 0 | 0.07 | 0.065 | 8648 | 98.72% | OTHER | 03 | AREA | MIDDLE SCALE | GENERAL/BACKGROUND
SCDHEC PARKING LOT | 0.0025 | 0.009 | 0.008 | 0 | 0.026 | 0.023 | 0 | 0.038 | 0.033 | 8629 | 98.5% | SLAMS | 01 | AREA | MIDDLE SCALE | POPULATION EXPOSURE
State Wide Average => | 0.0022182 |  |  | 0 |  |  | 0 |  |  | 7939.4545 | 96.26%
State Wide Maximums => |  | 0.037 | 0.019 |  | 0.082 | 0.08 |  | 0.12 | 0.12
Method Code | Sample Collection Method |  |  |  |  | Sample Analysis |  |  |  | Recording Mode
020 | INSTRUMENTAL |  |  |  |  | PULSED FLUORESCENT |  |  |  | CONTINUOUS
060 | INSTRUMENTAL |  |  |  |  | PULSED FLUORESCENT |  |  |  | CONTINUOUS
Number of monitors active during the year | 11

## NO2
Nitrogen Dioxide (NO2) - PPM
[Parameter Code = 42602]
[Air quality standard = .053 PPM Annual Mean]
| ANNUAL | MAX 1HR |  | ANNUAL |  | Monitor | Project | Dominant | Measurement | Monitor
SITE NAME | MEAN | 1ST | 2ND | OBSV | Complete | Type | Code | Source | Scale | Objective
JACKSON MIDDLE SCHOOL | 0.0041 | 0.042 | 0.036 | 7488 | 85.48% | INDUSTRIAL | 02 | AREA | URBAN SCALE | SOURCE ORIENTED
BARNWELL CMS | 0.0032 | 0.022 | 0.022 | 8096 | 92.42% | INDUSTRIAL | 02 | AREA | URBAN SCALE | SOURCE ORIENTED
JENKINS AV. FIRE STATION | 0.0101 | 0.049 | 0.046 | 8210 | 93.72% | SLAMS | 02 | MOBILE | NEIGHBORHOOD | HIGHEST CONCENTRATION
CAPE ROMAIN WILDLIFE REFUGE | 0.0035 | 0.024 | 0.023 | 8647 | 98.71% | SLAMS | 02 | AREA | REGIONAL SCALE | GENERAL/BACKGROUND
GREENVILLE HEALTH DEPT | 0.0159 | 0.094 | 0.09 | 8550 | 97.6% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
BOYER | 0.0047 | 0.029 | 0.027 | 2263 | 89.8% | OTHER | 01
PARKLANE - STATE PARK HEALTH CTR | 0.0123 | 0.07 | 0.069 | 8635 | 98.57% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
CONGAREE BLUFF | 0.0035 | 0.027 | 0.026 | 7966 | 90.94% | OTHER | 03 | MOBILE | MIDDLE SCALE | GENERAL/BACKGROUND
State Wide Average => | 0.0071625 |  |  | 7481.875 | 93.4%
State Wide Maximums => |  | 0.094 | 0.09
Method Code | Sample Collection Method |  |  |  |  | Sample Analysis |  |  |  | Recording Mode
074 | INSTRUMENTAL |  |  |  |  | CHEMILUMINESCENCE |  |  |  | CONTINUOUS
Number of monitors active during the year | 8

## O3 1hr
Ozone (O3) - PPM
[Parameter Code = 44201]
[Air quality standard = .125 PPM 1hr Daily Max]
| MAXIMUM 1HR |  |  |  | ANNUAL |  |  | Monitor | Project | Dominant | Measurement | Monitor
SITE NAME | 1ST | 2ND | 3RD | 4TH | OBS> .124 | OBSV. | Complete | Type | Code | Source | Scale | Objective
DUE WEST | 0.115 | 0.104 | 0.099 | 0.097 | 0 | 237 | 100% | SLAMS | 05 | AREA | URBAN SCALE | GENERAL/BACKGROUND
JACKSON MIDDLE SCHOOL | 0.106 | 0.105 | 0.102 | 0.1 | 0 | 233 | 98.13% | SLAMS | 02 | AREA | URBAN SCALE | SOURCE ORIENTED
WAGENER DOT | 0.107 | 0.103 | 0.101 | 0.098 | 0 | 305 | 99.07% | OTHER | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
POWDERSVILLE | 0.114 | 0.108 | 0.105 | 0.105 | 0 | 236 | 98.13% | NAMS | 01 | AREA | URBAN SCALE | MAX OZONE CONCENTRATION
BARNWELL CMS | 0.1 | 0.097 | 0.096 | 0.095 | 0 | 365 | 100% | SLAMS | 02 | AREA | URBAN SCALE | SOURCE ORIENTED
BUSHY PARK PUMP | 0.1 | 0.095 | 0.092 | 0.091 | 0 | 363 | 96.73% | NAMS | 03 | AREA | URBAN SCALE | UPWIND BACKGROUND
U S ARMY RESERVE | 0.104 | 0.091 | 0.089 | 0.089 | 0 | 240 | 99.53% | NAMS | 02 | AREA | NEIGHBORHOOD | MAX OZONE CONCENTRATION
CAPE ROMAIN WILDLIFE REFUGE | 0.1 | 0.098 | 0.091 | 0.088 | 0 | 363 | 99.07% | SLAMS | 02 | AREA | REGIONAL SCALE | GENERAL/BACKGROUND
COWPENS NATIONAL BATTLE GROUND | 0.119 | 0.111 | 0.111 | 0.109 | 0 | 364 | 100% | SLAMS | 03 | AREA | URBAN SCALE | UPWIND BACKGROUND
CHESTER AIRPORT | 0.123 | 0.119 | 0.105 | 0.104 | 0 | 232 | 99.53% | SLAMS | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
CHESTERFIELD | 0.104 | 0.104 | 0.104 | 0.101 | 0 | 295 | 93.46% | OTHER | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
ASHTON | 0.101 | 0.097 | 0.091 | 0.09 | 0 | 225 | 99.53% | OTHER | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
PEE DEE EXP. STATION | 0.103 | 0.101 | 0.1 | 0.098 | 0 | 353 | 93.46% | SLAMS | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
TRENTON | 0.109 | 0.106 | 0.103 | 0.101 | 0 | 362 | 99.53% | NAMS | 03 | AREA | URBAN SCALE | UPWIND BACKGROUND
ROUND MT. FIRE TOWER (LONG CREEK) | 0.106 | 0.102 | 0.101 | 0.097 | 0 | 355 | 92.52% | SLAMS | 03 | AREA | REGIONAL SCALE | REGIONAL TRANSPORT
CLEMSON CMS | 0.113 | 0.106 | 0.105 | 0.1 | 0 | 234 | 94.39% | SLAMS | 01 | AREA | URBAN SCALE | GENERAL/BACKGROUND
PARKLANE - STATE PARK HEALTH CTR | 0.101 | 0.101 | 0.1 | 0.095 | 0 | 290 | 84.58% | NAMS | 01 | AREA | NEIGHBORHOOD | MAX OZONE CONCENTRATION
CONGAREE BLUFF | 0.115 | 0.115 | 0.102 | 0.1 | 0 | 365 | 97.66% | OTHER | 03 | AREA | MIDDLE SCALE | GENERAL/BACKGROUND
SANDHILL | 0.114 | 0.113 | 0.108 | 0.103 | 0 | 221 | 79.7% | SLAMS | 03 | AREA | URBAN SCALE | UPWIND BACKGROUND
NORTH SPARTANBURG FIRE STATION | 0.117 | 0.115 | 0.114 | 0.113 | 0 | 239 | 99.07% | NAMS | 01 | AREA | URBAN SCALE | MAX OZONE CONCENTRATION
DELTA | 0.108 | 0.098 | 0.097 | 0.097 | 0 | 226 | 96.26% | SLAMS | 05 | AREA | URBAN SCALE | GENERAL/BACKGROUND
INDIANTOWN | 0.092 | 0.09 | 0.086 | 0.084 | 0 | 237 | 96.26% | OTHER | 05 | AREA | URBAN SCALE | GENERAL/BACKGROUND
YORK CMS | 0.12 | 0.113 | 0.109 | 0.108 | 0 | 233 | 99.53% | SLAMS | 05 | AREA | URBAN SCALE | EXTREME DOWNWIND
State Wide Average => |  |  |  |  | 0 | 285.7826 | 96.35%
State Wide Maximums => | 0.123 | 0.12 | 0.119 | 0.117
Method Code | Sample Collection Method |  |  |  |  | Sample Analysis |  |  |  | Recording Mode
047 | INSTRUMENTAL |  |  |  |  | ULTRA VIOLET |  |  |  | CONTINUOUS
Number of monitors active during the year | 23

## O3 8hr
Ozone (O3) - PPM
[Parameter Code = 44201]
[Air quality standard = .085 PPM 8hr Daily Average Max, .08 PPM 3 year 4th Maximum Average]
| MAXIMUM 8HR |  |  |  | ANNUAL |  |  | 3 year | Monitor | Project | Dominant | Measurement | Monitor
SITE NAME | 1ST | 2ND | 3RD | 4TH | OBS> .084 | OBSV. | Complete | Average | Type | Code | Source | Scale | Objective
DUE WEST | 0.102 | 0.09 | 0.088 | 0.088 | 10 | 5639 | 100% | 0.085 | SLAMS | 05 | AREA | URBAN SCALE | GENERAL/BACKGROUND
JACKSON MIDDLE SCHOOL | 0.095 | 0.093 | 0.093 | 0.092 | 4 | 5469 | 98.13% | 0.088 | SLAMS | 02 | AREA | URBAN SCALE | SOURCE ORIENTED
WAGENER DOT | 0.099 | 0.092 | 0.091 | 0.089 | 7 | 7168 | 99.07% | ND | OTHER | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
POWDERSVILLE | 0.103 | 0.099 | 0.095 | 0.093 | 19 | 5546 | 97.66% | 0.088 | NAMS | 01 | AREA | URBAN SCALE | MAX OZONE CONCENTRATION
BARNWELL CMS | 0.091 | 0.09 | 0.089 | 0.086 | 6 | 8707 | 100% | 0.083 | SLAMS | 02 | AREA | URBAN SCALE | SOURCE ORIENTED
BUSHY PARK PUMP | 0.083 | 0.076 | 0.074 | 0.074 | 0 | 8555 | 95.79% | 0.075 | NAMS | 03 | AREA | URBAN SCALE | UPWIND BACKGROUND
U S ARMY RESERVE | 0.086 | 0.078 | 0.077 | 0.074 | 1 | 5646 | 97.66% | 0.074 | NAMS | 02 | AREA | NEIGHBORHOOD | MAX OZONE CONCENTRATION
CAPE ROMAIN WILDLIFE REFUGE | 0.089 | 0.08 | 0.075 | 0.074 | 1 | 8553 | 98.6% | 0.072 | SLAMS | 02 | AREA | REGIONAL SCALE | GENERAL/BACKGROUND
COWPENS NATIONAL BATTLE GROUND | 0.099 | 0.097 | 0.093 | 0.093 | 13 | 8641 | 99.53% | 0.087 | SLAMS | 03 | AREA | URBAN SCALE | UPWIND BACKGROUND
CHESTER AIRPORT | 0.102 | 0.098 | 0.096 | 0.093 | 16 | 5506 | 99.53% | 0.084 | SLAMS | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
CHESTERFIELD | 0.094 | 0.094 | 0.093 | 0.092 | 13 | 6925 | 92.99% | ND | OTHER | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
ASHTON | 0.089 | 0.088 | 0.086 | 0.085 | 4 | 5312 | 99.07% | 0.08 | OTHER | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
PEE DEE EXP. STATION | 0.099 | 0.095 | 0.094 | 0.09 | 8 | 8381 | 93.46% | 0.086 | SLAMS | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
TRENTON | 0.101 | 0.095 | 0.095 | 0.094 | 8 | 8596 | 99.07% | 0.083 | NAMS | 03 | AREA | URBAN SCALE | UPWIND BACKGROUND
ROUND MT. FIRE TOWER (LONG CREEK) | 0.097 | 0.094 | 0.094 | 0.094 | 6 | 8151 | 90.65% | ND | SLAMS | 03 | AREA | REGIONAL SCALE | REGIONAL TRANSPORT
CLEMSON CMS | 0.1 | 0.093 | 0.09 | 0.088 | 11 | 5445 | 92.52% | 0.085 | SLAMS | 01 | AREA | URBAN SCALE | GENERAL/BACKGROUND
PARKLANE - STATE PARK HEALTH CTR | 0.093 | 0.087 | 0.086 | 0.084 | 3 | 6767 | 84.11% | 0.087 | NAMS | 01 | AREA | NEIGHBORHOOD | MAX OZONE CONCENTRATION
CONGAREE BLUFF | 0.094 | 0.087 | 0.086 | 0.082 | 3 | 8524 | 96.26% | 0.077 | OTHER | 03 | AREA | MIDDLE SCALE | GENERAL/BACKGROUND
SANDHILL | 0.104 | 0.094 | 0.094 | 0.093 | 17 | 5154 | 77.67% | ND | SLAMS | 03 | AREA | URBAN SCALE | UPWIND BACKGROUND
NORTH SPARTANBURG FIRE STATION | 0.107 | 0.1 | 0.098 | 0.093 | 19 | 5654 | 99.07% | 0.09 | NAMS | 01 | AREA | URBAN SCALE | MAX OZONE CONCENTRATION
DELTA | 0.096 | 0.088 | 0.086 | 0.085 | 4 | 5294 | 95.79% | 0.081 | SLAMS | 05 | AREA | URBAN SCALE | GENERAL/BACKGROUND
INDIANTOWN | 0.086 | 0.08 | 0.077 | 0.077 | 1 | 5449 | 93.46% | 0.073 | OTHER | 05 | AREA | URBAN SCALE | GENERAL/BACKGROUND
YORK CMS | 0.101 | 0.098 | 0.098 | 0.096 | 15 | 5538 | 99.53% | 0.084 | SLAMS | 05 | AREA | URBAN SCALE | EXTREME DOWNWIND
State Wide Average => |  |  |  |  | 8.2174 | 6722.6087 | 95.64%
State Wide Maximums => | 0.107 | 0.107 | 0.104 | 0.103
ND: Not enough data to calculate average or does not meet all the Federal Register Part 50 appendix I requirements.
Method Code | Sample Collection Method |  |  |  |  | Sample Analysis |  |  |  | Recording Mode
047 | INSTRUMENTAL |  |  |  |  | ULTRA VIOLET |  |  |  | CONTINUOUS
Number of monitors active during the year | 23

## PM10
Particulate Matter (PM10) - Ug/M3
[Parameter Code = 81102]
[Air quality standard = 50 Ug/M3 Annual Mean, 150 Ug/M3 24hr]
WTD
| ARITH | MAXIMUM DAILY |  |  |  | 99TH | ANNUAL |  |  | Monitor | Project | Dominant | Measurement | Monitor
SITE NAME | MEAN | 1ST | 2ND | 3RD | 4TH | PERCENTILE | OBS> 150 | OBSV | Complete | Type | Code | Source | Scale | Objective
JACKSON MIDDLE SCHOOL | 17.2 | 49 | 38 | 36 | 30 | 49 | 0 | 56 | 91.8% | SLAMS | 02 | AREA | NEIGHBORHOOD | SOURCE ORIENTED
BARNWELL CMS | 15.8 | 42 | 33 | 32 | 31 | 42 | 0 | 57 | 93.44% | SLAMS | 02 | AREA | NEIGHBORHOOD | SOURCE ORIENTED
JENKINS AV. FIRE STATION* | 18.7 | 52 | 40 | 36 | 35 | 36 | 0 | 262 | 71.78% | NAMS | 02 | AREA | NEIGHBORHOOD | HIGHEST CONCENTRATION
CAPE ROMAIN WILDLIFE REFUGE | 14.3 | 40 | 33 | 27 | 26 | 40 | 0 | 57 | 93.44% | SLAMS | 02 | AREA | REGIONAL SCALE | GENERAL/BACKGROUND
U S NAVAL BASE | 16.9 | 41 | 32 | 30 | 27 | 41 | 0 | 57 | 93.44% | SLAMS | 02 | POINT | NEIGHBORHOOD | HIGHEST CONCENTRATION
HOWARD HIGH SCHOOL | 25.3 | 61 | 52 | 49 | 47 | 61 | 0 | 59 | 96.72% | SLAMS | 02 | POINT | MIDDLE SCALE | HIGHEST CONCENTRATION
GEORGETOWN CMS* | 30.2 | 94 | 93 | 93 | 85 | 93 | 0 | 245 | 67.12% | SLAMS | 02 | POINT | MIDDLE SCALE | HIGHEST CONCENTRATION
WINYAH | 22.4 | 54 | 53 | 51 | 51 | 54 | 0 | 57 | 93.44% | OTHER | 01 | POINT | NEIGHBORHOOD | HIGHEST CONCENTRATION
HOWARD HIGH SCHOOL #2 | 27.6 | 60 | 58 | 53 | 50 | 60 | 0 | 43 | 91.49% | SLAMS | 02 | POINT | MIDDLE SCALE | HIGHEST CONCENTRATION
PARKER FIRE STATION* | 22.4 | 54 | 50 | 48 | 48 | 48 | 0 | 321 | 87.95% | NAMS | 01 | AREA | NEIGHBORHOOD | HIGHEST CONCENTRATION
SALTECH | 17.4 | 37 | 35 | 32 | 26 | 37 | 0 | 54 | 88.52% | OTHER | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
CAYCE CMS* | 36 | 101 | 97 | 96 | 91 | 91 | 0 | 336 | 92.05% | OTHER | 05 | POINT | MIDDLE SCALE | SOURCE ORIENTED
PARKLANE | 18 | 42 | 41 | 36 | 36 | 42 | 0 | 60 | 98.36% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
OLYMPIA* | 33.2 | 127 | 111 | 94 | 90 | 90 | 0 | 313 | 85.75% | OTHER | 05 | POINT | MIDDLE SCALE | SOURCE ORIENTED
BATES HOUSE (USC) | 21.8 | 48 | 48 | 48 | 38 | 48 | 0 | 58 | 95.08% | SLAMS | 02 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
SCDHEC PARKING LOT | 23.5 | 44 | 43 | 37 | 32 | 44 | 0 | 31 | 88.57% | SLAMS | 01 | AREA | MIDDLE SCALE | POPULATION EXPOSURE
SPARTANBURG CITY HALL | 19.9 | 44 | 39 | 37 | 36 | 44 | 0 | 58 | 95.08% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
ROCK HILL WATER FILTER PLANT | 24.5 | 55 | 43 | 42 | 42 | 55 | 0 | 56 | 91.8% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
State Wide Average => | 22.5056 |  |  |  |  | 54.1667 | 0 | 121.1111 | 85.19%
State Wide Maximums => |  | 127 | 111 | 101 | 97
*: CONTINUOUS MONITOR
Method Code | Sample Collection Method |  |  |  |  | Sample Analysis |  |  |  | Recording Mode
063 | HI-VOL SA/GMW-1200 |  |  |  |  | GRAVIMETRIC |  |  |  | INTERMITTENT
079 | INSTRUMENTAL-R&P SA246B-INLET |  |  |  |  | TEOM-GRAVIMETRIC |  |  |  | CONTINUOUS
Number of monitors active during the year |  | 18

## PM2.5
Particulate Matter (PM2.5) - Ug/M3
[Parameter Code = 88101]
[Air quality standard = 15 Ug/M3 Annual Mean, 65 Ug/M3 24hr]
WTD
| ARITH | MAXIMUM DAILY |  |  |  | 98TH | ANNUAL |  |  | Monitor | Project | Dominant | Measurement | Monitor
SITE NAME | MEAN | 1ST | 2ND | 3RD | 4TH | PERCENTILE | OBS> 65 | OBSV | Complete | Type | Code | Source | Scale | Objective
POWDERSVILLE* | 14.4 | 45 | 44 | 37 | 36 | 30 | 0 | 353 | 96.71% | OTHER | 01 | AREA | URBAN SCALE | HIGHEST CONCENTRATION
BEAUFORT KING STREET | 10.25 | 26.2 | 23.9 | 23.3 | 21.5 | 23.3 | 0 | 118 | 96.72% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
MONCKS CORNER | 10.18 | 26.7 | 19.5 | 19.3 | 16.2 | 19.5 | 0 | 51 | 91.07% | OTHER | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
CHARLESTON FAA BEACON | 11.63 | 47.4 | 44.1 | 32.6 | 30.6 | 27.2 | 0 | 348 | 95.34% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
CHARLESTON PUBLIC WORKS | 10.96 | 44 | 27.9 | 27.2 | 25.4 | 24.5 | 0 | 293 | 80.27% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
CHESTERFIELD | 12.26 | 41.2 | 31.5 | 29.7 | 27.7 | 29.7 | 0 | 106 | 86.89% | OTHER | 03 | AREA | REGIONAL SCALE | REGIONAL TRANSPORT
ASHTON* | 12.1 | 40 | 39 | 32 | 30 | 26 | 0 | 348 | 95.34% | OTHER | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
TRENTON | 12.43 | 33.5 | 30.9 | 29.9 | 29.8 | 29.9 | 0 | 113 | 92.62% | SLAMS | 03 | MOBILE | URBAN SCALE | GENERAL/BACKGROUND
H L SNEED MIDDLE SCHOOL | 12.28 | 31.8 | 31.8 | 30.5 | 29.6 | 30.5 | 0 | 110 | 90.16% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
WINYAH | 12.58 | 28.4 | 27.2 | 26.7 | 26.1 | 26.7 | 0 | 105 | 86.07% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
GREENVILLE HEALTH DEPT | 16.08 | 37.3 | 36 | 32.3 | 30.7 | 32.3 | 0 | 116 | 94.26% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
TAYLORS | 14.17 | 49.8 | 37.3 | 31.9 | 30.1 | 28.5 | 0 | 355 | 97.26% | SLAMS | 01 | AREA | NEIGHBORHOOD | GENERAL/BACKGROUND
MERRYWOOD SCHOOL | 13.06 | 38.8 | 32 | 29.5 | 29.5 | 29.5 | 0 | 112 | 91.8% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
MYRTLE BEACH EQC | 11.01 | 31.4 | 30.3 | 28.7 | 27.5 | 28.7 | 0 | 106 | 86.89% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
SEVEN OAKS RECREATIONAL CTR | 13.42 | 41 | 34 | 31 | 27.7 | 31 | 0 | 116 | 95.08% | SLAMS | 01 | AREA | URBAN SCALE | GENERAL/BACKGROUND
ROUND MT. FIRE TOWER (LONG CREEK) | 10.7 | 28.1 | 26.9 | 26.4 | 25.7 | 26.4 | 0 | 117 | 95.9% | SLAMS | 03 | AREA | REGIONAL SCALE | REGIONAL TRANSPORT
ORANGEBURG | 11.9 | 29.2 | 27.2 | 26.2 | 25.5 | 26.2 | 0 | 101 | 84.17% | OTHER | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
CLEMSON CMS* | 13.1 | 31 | 29 | 28 | 28 | 28 | 0 | 280 | 76.71% | OTHER | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
PARKLANE | 12.9 | 31.5 | 30.5 | 28.6 | 28.5 | 28.6 | 0 | 113 | 92.62% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
OLYMPIA* | 17.8 | 52 | 48 | 43 | 42 | 38 | 0 | 351 | 96.16% | OTHER | 05 | POINT | MIDDLE SCALE | SOURCE ORIENTED
BATES HOUSE (USC) | 13.4 | 43.3 | 37.4 | 37.3 | 35.9 | 30.5 | 0 | 321 | 87.94% | SLAMS | 02 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
WEST VIEW ELEMETARY SCHOOL | 13.33 | 41.5 | 35.9 | 30.8 | 30.4 | 28.3 | 0 | 324 | 88.77% | SLAMS | 01 | AREA | NEIGHBORHOOD | POPULATION EXPOSURE
State Wide Average => | 12.7245 |  |  |  |  | 28.3318 | 0 | 198.0455 | 90.57%
State Wide Maximums => |  | 52 | 49.8 | 48 | 47.4
* CONTINUOUS MONITOR
NOTE: Exceptional event data are included for this parameter.
Method Code | Sample Collection Method |  |  |  |  | Sample Analysis |  |  |  | Recording Mode
118 | R & P MODEL 2025 PM2.5 SEQUNTL |  |  |  |  | GRAVIMETRIC |  |  |  | INTERMITTENT
702 | PM2.5 SCC w/Correction Factor |  |  |  |  | TEOM Gravimetric 50 deg C |  |  |  | CONTINUOUS
750 | Andersen BAM w/PM2.5 SCC |  |  |  |  | Beta Attenuation |  |  |  | CONTINUOUS
Number of monitors active during the year | 22

## Rain
Acid Rain
[11 empty] | PERIOD | Monitor | Project | Dominant | Measurement | Monitor
SITE NAME | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | AVERAGE | Type | Code | Source | Scale | Objective
DUE WEST | 4.3438 | 4.488 | 4.5738 | 4.4757 | 4.5597 | 4.5235 | 4.28 | 4.6 | 4.58 | 4.5 | 4.4925 | OTHER | 05 | AREA | URBAN SCALE | REGIONAL TRANSPORT
BARNWELL CMS | 4.3785 | 4.5977 | 4.6331 | 4.5181 | 4.6103 | 4.611 | 4.4091 | 4.67 | 4.47 | 4.5 | 4.5398 | OTHER | 02 | AREA | URBAN SCALE | OTHER
CAPE ROMAIN WILDLIFE REFUGE** | 4.0632 | 4.6887 | 4.4607 | 4.5658 | 4.5726 | 4.6074 | 4.414 | 4.57 |  |  | 4.4928 | OTHER | 02 | AREA | URBAN SCALE | GENERAL/BACKGROUND
COWPENS NATIONAL BATTLE GROUND | 4.2576 | 4.348 | 4.4537 | 4.3716 | 4.4079 | 4.3758 | 4.15 | 4.57 | 4.5 | 4.52 | 4.3955 | OTHER | 03 | AREA | URBAN SCALE | REGIONAL TRANSPORT
WINYAH | [8 empty] | 4.41 | 4.71 | 4.56 | OTHER | 01 | AREA | URBAN SCALE | OTHER
ROUND MT. FIRE TOWER (LONG CREEK) | 4.2794 | 4.5075 | 4.5954 | 4.4274 | 4.5324 | 4.5909 | 4.29 | 4.57 | 4.52 | 4.63 | 4.4943 | OTHER | 03 | AREA | URBAN SCALE | REGIONAL TRANSPORT
PARKLANE - STATE PARK HEALTH CTR | 4.2812 | 4.5449 | 4.4868 | 4.5305 |  | 4.63 | 4.37 | 4.65 | 4.64 | 4.51 | 4.5159 | OTHER | 01 | AREA | URBAN SCALE | OTHER
CONGAREE SWAMP NATIONAL MONUMENT* | 4.2649 | 4.5924 | 4.5783 | 4.5156 | 4.468 | 4.6353 | 4.25 | 4.48 |  |  | 4.4731 | OTHER | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
CONGAREE BLUFF* | [7 empty] | 4.55 | 4.54 | 4.44 | 4.545 | OTHER | 03 | AREA | URBAN SCALE | GENERAL/BACKGROUND
DELTA** | 4.3343 | 4.5368 | 4.5181 | 4.5056 | 4.5007 | 4.567 | 4.15 | 4.6 | 5.06 |  | 4.5303 | OTHER | 05 | AREA | URBAN SCALE | GENERAL/BACKGROUND
State Wide Average => | 4.2754 | 4.538 | 4.5375 | 4.4888 | 4.5217 | 4.5676 | 4.2891 | 4.5844 | 4.59 | 4.5443 | 4.4938
* Relocated from CONGAREE SWAMP to CONGAREE BLUFF February, 2000
** Delta terminated on 04/03/01; Cape Romain taken over by outside contractor
Method Code | Sample Collection Method |  |  |  |  | Sample Analysis |  |  |  | Recording Mode
075 | ANDERSON DUSTFALL BUCKET |  |  |  |  | GLASS ELECTRODE |  |  |  | INTERMITTENT
Number of monitors active during the year | 7

## SUM-1
STATE/COUNTY POLLUTANT YEARLY SUMMERIES
COUNTY |  |  |  | TOTAL # OF |  | MAXIMUM | DESIGN VALUES
NAME | ID | Population | POLLUTANT | MONITORS | EXCEEDANCES | VALUE | ANNUAL | DAILY | Avg Exp E
ABBEVILLE | 001 | 23862 | Ozone (1hr) | 1 | 0 | 0.115 | 0.115 |  | 0
|  |  | Ozone (8hr) | 1 | 10 | 0.102 | 0.09
|  |  | Acid Rain | 1 | N/A | 4.5 | N/A
AIKEN | 003 | 120940 | TSP | 1 | N/A | 95 | N/A
|  |  | NO2 | 1 | 0 | 0.012 | N/A
|  |  | Ozone (1hr) | 2 | 0 | 0.107 | 0.122 |  | 0
|  |  | Ozone (8hr) | 2 | 11 | 0.099 | 0.09
|  |  | PM10 | 1 | 0 | 49 | N/A
ALLENDALE | 005 | 11722
ANDERSON | 007 | 145196 | Ozone (1hr) | 1 | 0 | 0.114 | 0.12 |  | 0
|  |  | Ozone (8hr) | 1 | 19 | 0.103 | 0.09
|  |  | PM25 | 1 | 0 | 45 | N/A | N/A
BAMBERG | 009 | 16902
BARNWELL | 011 | 20293 | SO2 | 1 | 0 | 0.034 | N/A
|  |  | NO2 | 1 | 0 | 0.011 | N/A
|  |  | Ozone (1hr) | 1 | 0 | 0.1 | 0.112 |  | 0
|  |  | Ozone (8hr) | 1 | 6 | 0.091 | 0.08
|  |  | PM10 | 1 | 0 | 42 | N/A
|  |  | Acid Rain | 1 | N/A | 4.5 | N/A
BEAUFORT | 013 | 86425 | TSP | 1 | N/A | 51 | N/A
|  |  | PM25 | 1 | 0 | 26.2 | 11.4 | 26
BERKELEY | 015 | 128776 | Ozone (1hr) | 1 | 0 | 0.1 | 0.098 | 0.107 | 0
|  |  | Ozone (8hr) | 1 | 0 | 0.083 | 0.08
|  |  | PM25 | 1 | 0 | 26.7 | N/A | N/A
CALHOUN | 017 | 12753
CHARLESTON | 019 | 295039 | TSP | 3 | N/A | 68 | N/A
|  |  | CO | 1 | 0 | 2.9 | N/A
|  |  | SO2 | 2 | 0 | 0.01 | N/A
|  |  | NO2 | 2 | 0 | 0.029 | N/A
|  |  | Ozone (1hr) | 2 | 0 | 0.104 | 0.099 | 0.107 | 0
|  |  | Ozone (8hr) | 2 | 2 | 0.089 | 0.07
|  |  | PM10 | 3 | 0 | 52 | N/A
|  |  | PM25 | 2 | 0 | 47.4 | 12.4 | 29
CHEROKEE | 021 | 44506 | Ozone (1hr) | 1 | 0 | 0.119 | 0.115 | 0.119 | 0
|  |  | Ozone (8hr) | 1 | 13 | 0.099 | 0.09
|  |  | Acid Rain | 1 | N/A | 4.52 | N/A
CHESTER | 023 | 32170 | Ozone (1hr) | 1 | 0 | 0.123 | 0.106 | 0.123 | 0
|  |  | Ozone (8hr) | 1 | 16 | 0.102 | 0.08

## SUM-2
STATE/COUNTY POLLUTANT YEARLY SUMMERIES
COUNTY |  |  |  | TOTAL # OF |  | MAXIMUM | DESIGN VALUES
NAME | ID | Population | POLLUTANT | MONITORS | EXCEEDANCES | VALUE | ANNUAL | DAILY | Avg Exp E
CHESTERFIELD | 025 | 38577 | Ozone (1hr) | 1 | 0 | 0.104 | N/A |  | N/A
|  |  | Ozone (8hr) | 1 | 13 | 0.094 | N/A
|  |  | PM25 | 1 | 0 | 41.2 | 12.7 | 26
CLARENDON | 027 | 28450
COLLETON | 029 | 34377 | Ozone (1hr) | 1 | 0 | 0.101 | 0.103 |  | 0
|  |  | Ozone (8hr) | 1 | 4 | 0.089 | 0.08
|  |  | PM25 | 1 | 0 | 40 | N/A
DARLINGTON | 031 | 61851 | Ozone (1hr) | 1 | 0 | 0.103 | 0.105 |  | 0
|  |  | Ozone (8hr) | 1 | 8 | 0.099 | 0.09
DILLON | 033 | 29114
DORCHESTER | 035 | 83060
EDGEFIELD | 037 | 18375 | Ozone (1hr) | 1 | 0 | 0.109 | 0.109 |  | 0
|  |  | Ozone (8hr) | 1 | 8 | 0.101 | 0.08
|  |  | PM25 | 1 | 0 | 33.5 | 13.3 | 28
FAIRFIELD | 039 | 22295
FLORENCE | 041 | 114344 | TSP | 1 | N/A | 69 | N/A
|  |  | PM25 | 1 | 0 | 31.8 | 13.3 | 29
GEORGETOWN | 043 | 46302 | TSP | 5 | N/A | 175 | N/A
|  |  | SO2 | 1 | 0 | 0.037 | N/A
|  |  | PM10 | 4 | 0 | 94 | N/A
|  |  | PM25 | 1 | 0 | 28.4 | 13.5 | 29
|  |  | Acid Rain | 1 | N/A | 4.71 | N/A
GREENVILLE | 045 | 320167 | TSP | 2 | N/A | 87 | N/A
|  |  | CO | 1 | 0 | 3.5 | N/A
|  |  | SO2 | 1 | 0 | 0.015 | N/A
|  |  | NO2 | 1 | 0 | 0.055 | N/A
|  |  | PM10 | 1 | 0 | 54 | N/A
|  |  | PM25 | 2 | 0 | 49.8 | 15.3 | 33
GREENWOOD | 047 | 59567 | TSP | 2 | N/A | 66 | N/A
|  |  | PM25 | 1 | 0 | 38.8 | 14.1 | 50
HAMPTON | 049 | 18191 | TSP | 1 | N/A | 80 | N/A
HORRY | 051 | 144053 | TSP | 1 | N/A | 72 | N/A
|  |  | PM25 | 1 | 0 | 31.4 | N/A | 22
JASPER | 053 | 15487
KERSHAW | 055 | 43599
LANCASTER | 057 | 54516
LAURENS | 059 | 58092 | TSP | 1 | N/A | 51 | N/A
LEE | 061 | 18437

## SUM-3
STATE/COUNTY POLLUTANT YEARLY SUMMERIES
COUNTY |  |  |  | TOTAL # OF |  | MAXIMUM | DESIGN VALUES
NAME | ID | Population | POLLUTANT | MONITORS | EXCEEDANCES | VALUE | ANNUAL | DAILY | Avg Exp E
LEXINGTON | 063 | 167611 | TSP | 2 | N/A | 78 | N/A
|  |  | SO2 | 1 | 0 | 0.019 | N/A
|  |  | PM10 | 2 | 0 | 0.101 | N/A
|  |  | PM25 | 1 | 0 | 41 | 14.6 | 30
MCCORMICK | 065 | 8868
MARION | 067 | 33899
MARLBORO | 069 | 29361
NEWBERRY | 071 | 33172
OCONEE | 073 | 57494 | SO2 | 1 | 0 | 0.007 | N/A
|  |  | Ozone (1hr) | 1 | 0 | 0.106 | 0.106 |  | 0
|  |  | Ozone (8hr) | 1 | 6 | 0.097 | N/A
|  |  | PM25 | 1 | 0 | 28.1 | 11.6 | 29
|  |  | Acid Rain | 1 | N/A | 4.63 | N/A
ORANGEBURG | 075 | 84803 | TSP | 1 | N/A | 25 | N/A
|  |  | SO2 | 1 | 0 | 0.005 | N/A
|  |  | NO2 | 1 | 0 | 0.013 | N/A
|  |  | PM25 | 1 | 0 | 29.2 | N/A | 26
PICKENS | 077 | 93894 | Ozone (1hr) | 1 | 0 | 0.113 | 0.113 |  | 0
|  |  | Ozone (8hr) | 1 | 11 | 0.1 | 0.108
|  |  | PM25 | 1 | 0 | 31 | 0.09
RICHLAND | 079 | 285720 | TSP | 5 | N/A | 82 | N/A
|  |  | CO | 1 | 0 | 3.2 | N/A
|  |  | SO2 | 3 | 0 | 0.01 | N/A
|  |  | NO2 | 2 | 0 | 0.037 | N/A
|  |  | Ozone (1hr) | 3 | 0 | 0.115 | 0.12 |  | 0
|  |  | Ozone (8hr) | 3 | 23 | 0.104 | 0.09
|  |  | PM10 | 4 | 0 | 127 | N/A
|  |  | PM25 | 3 | 0 | 52 | 13.8 | 30
|  |  | Acid Rain | 2 | N/A | 4.51 | N/A
SALUDA | 081 | 16357
SPARTANBURG | 083 | 226800 | TSP | 1 | N/A | 70 | N/A
|  |  | Ozone (1hr) | 1 | 0 | 0.117 | 0.123 |  | 0
|  |  | Ozone (8hr) | 1 | 19 | 0.107 | 0.09
|  |  | PM10 | 1 | 0 | 44 | N/A
|  |  | PM25 | 1 | 0 | 41.5 | 14.5 | 32
SUMTER | 085 | 102637 | TSP | 1 | N/A | 64 | N/A
UNION | 087 | 30337 | Ozone (1hr) | 1 | 0 | 0.108 | 0.108 |  | 0
|  |  | Ozone (8hr) | 1 | 4 | 0.096 | 0.08

## SUM-4
STATE/COUNTY POLLUTANT YEARLY SUMMERIES
COUNTY |  |  |  | TOTAL # OF |  | MAXIMUM | DESIGN VALUES
NAME | ID | Population | POLLUTANT | MONITORS | EXCEEDANCES | VALUE | ANNUAL | DAILY | Avg Exp E
WILLIAMSBURG | 089 | 36815 | Ozone (1hr) | 1 | 0 | 0.092 | 0.095 |  | 0
|  |  | Ozone (8hr) | 1 | 1 | 0.086 | 0.07
YORK | 091 | 131497 | TSP | 1 | N/A | 74 | N/A
|  |  | Ozone (1hr) | 1 | 0 | 0.12 | 0.12 |  | 0
|  |  | Ozone (8hr) | 1 | 15 | 0.101 | 0.08
|  |  | PM10 | 1 | 0 | 55 | N/A
STATE TOTAL | 45 | 168312 | TSP | 29 | N/A | 175 | N/A
|  |  | CO | 3 | 0 | 3.5 | N/A
|  |  | SO2 | 11 | 0 | 0.037 | N/A
|  |  | NO2 | 8 | 0 | 0.055 | N/A
|  |  | Ozone (1hr) | 23 | 0 | 0.123 | 0.123 |  | 0
|  |  | Ozone (8hr) | 23 | 189 | 0.107 | 0.09
|  |  | PM10 | 18 | 0 | 127 | N/A
|  |  | PM25 | 22 | 0 | 52 | 15.3 | 32
|  |  | Acid Rain | 7 | N/A | 4.71 | N/A